REQUEST FOR QUOTATION

SENTECH INVITES SUPPLIERS FOR:

| Project title: | RFQ/ Revalidate FM200 Gas Nasrec |
| --- | --- |
| Quotation or Proposal no: | RFQ/ Fire detection and Gas Suppression Systems 6000000675 |
| RFQ Issue date: | 22/11/2021 |
| Briefing Session | N/A |
| Closing date: | 26/11/2021 |
| Closing time: | 12h00 | Validity period: | 90 days |

You are invited to provide a quote to deliver the goods, services or works defined in the Scope of Work.

QUOTATIONS OR PROPOSALS TO BE RETURNED TO:

| Quotations Administrator | Tumelo Buang |
| --- | --- |
| Telephone no: |  |
| E-mail: | quotations@sentech.co.za |

Form of Offer and Acceptance Offer

The Employer, identified in the Acceptance signature block, has solicited offers to enter into a contract for the services as stated in the RFQ: Scope of Work

The Service Providers, identified in the Offer signature block, has examined the documents listed in the RFQ and addenda thereto as listed in the Returnable Schedules, and by submitting this Offer has accepted the Conditions of this RFQ.

By the representative of the Service Provider, deemed to be duly authorised, signing this part of this Form of Offer and Acceptance the Service Provider offers to perform all of the obligations and liabilities of the RFQ under the contract including compliance with all its terms and conditions according to their true intent and meaning for an amount to be determined in accordance with the conditions of contract identified in the RFQ.

THE OFFERED TOTAL OF THE PRICES INCLUSIVE OF VAT IS: (in words) …………………………………………………………………………..………………………………………………….. ………………………………………………………………………………………………………………….……….Rand; R…………………………………………………(in figures)

THE OFFERED PRICES ARE AS STATED IN THE PRICING SCHEDULE

This Offer may be accepted by the Employer by signing the Acceptance part of this Form of Offer and Acceptance and returning one copy of this document including the Schedule of Deviations (if any) to the Service Provider before the end of the period of validity stated in the RFQ, or other period as agreed.

| Signature(s) |  |  |  |
| --- | --- | --- | --- |
| Name(s) |  |  |  |
| Capacity |  |  |  |
| For the tenderer: |  |
| Name & signature of witness | (Insert name and address of organisation) |  | Date |  |

| Acceptance |
| --- |
| By signing this part of this Form of Offer and Acceptance, the Employer identified below accepts the Service Providers Offer. In consideration thereof, the Employer shall pay the Service Provider the amount due in accordance with the conditions of the RFQ. Acceptance of the Service Providers Offer shall form an agreement between the Employer and the Service Provider upon the terms and conditions contained in this RFQ. |
| Deviations from and amendments to the documents listed in the RFQ and any addenda thereto listed in the Returnable Schedules as well as any changes to the terms of the Offer agreed by the Service Provider and the Employer during this process of offer and acceptance, are contained in the Schedule of Deviations attached to and forming part of this Form of Offer and Acceptance. No amendments to or deviations from said documents are valid unless contained in this Schedule. |
| The Service Provider shall within two days of receiving a completed copy of this agreement, including the Schedule of Deviations (if any), contact the Employer’s agent to arrange the delivery of any securities, bonds, guarantees, proof of insurance and any other documentation to be provided in terms of the conditions of contract identified in the RFQ. Failure to fulfil any of these obligations in accordance with those terms shall constitute a repudiation of this agreement. |
| Notwithstanding anything contained herein, this agreement comes into effect on the date when the Service Provider receives one fully completed original copy of this document, including the Schedule of Deviations (if any). |
| Signature(s) |  |  |  |
| Name(s) |  |  |  |
| Capacity |  |  |  |
| for the Employer |  |
| Name & signature of witness | (Insert name and address of organisation) |  | Date |

RFQ Data

- ADMINISTRATIVE RESPONSIVENESS CRITERIA

Suppliers are required to ensure that they meet all the Administrative Responsiveness Criteria. Suppliers that do not meet all the Administrative Responsive Criteria may not be awarded this Quote. It is the service provider’s responsibility to ensure that Sentech is in possession of a valid and original tax clearance certificate and a valid B-BBEE Certificate at the time of offer closure.

  - Supplier’s providing quotations must be registered on the Sentech Supplier Database.

  - Quotations must be in a Company Letterhead.

  - Quotations or Proposals must be received on or before the closing date and time specified on the Call for Quotation or Proposal document.

  - Quotations or Proposals must be fully completed and signed in BLACK ink.

  - Quotations must be submitted via Email.

  - The Tenderer undertakes to the Purchaser that it will treat as confidential the terms of this RFQ together with all the Purchaser's confidential information and will not disclose such confidential information to any person, firm or company (other than to its auditors and other professional advisers) or to the media, and will not use such confidential information other than for the purposes of this RFQ, subject always to any prior specific authorisation in writing by the Purchaser to such disclosure or use."

- EVALUATION CRITERIA

The evaluation criteria are stipulated in Section 5. It is the Suppliers responsibility to ensure that it has responded to the evaluation criteria. Failure to meet the evaluation criteria may result in the Supplier being disqualified from being appointed. Suppliers must ensure that they have included all supporting documentation, especially the documentation that may be required to support the response to the evaluation criteria.

- BRIEFING SESSION

N/A

- RFQ EVALUATION METHOD

This RFQ will be evaluated as described in the table below.

| Evaluation Method | Stage 1 – Administrative Responsiveness Evaluation All the Quotations will be evaluated against the Administrative responsiveness requirements as set out in section 2 of the RFQ Data. Stage 2 – Mandatory Evaluation Criteria Proposals that are administratively responsive will be evaluated against the Mandatory Evaluation Criteria. Suppliers must COMPLY FULLY with all the Mandatory evaluation criteria in-order to be evaluated further. Stage 3 – Functional Evaluation Criteria The proposals that COMPLY with the Mandatory evaluation criteria be evaluated against the Functional Criteria. Suppliers meeting the minimum requirement will be evaluated further. Stage 4 – Price and Preference Suppliers with the lowest Price offered will score the highest points. Only Suppliers that submit a valid B-BBEE Certificate can claim preference points in line with the 80/20 Suppliers with the highest number of points will be recommended for the award of this quotation, unless there are compelling and justifiable reasons not to do so. |
| --- | --- |

- Evaluation of Price and Preference

The Service Provider will be evaluated on a points system for Price and Preference as per Preferential Procurement Framework Act of 2000 (Act 5 of 2000).

  - Mandatory Evaluation Criteria

| Mandatory Criteria | Proof Required |
| --- | --- |
| N/A |  |

  - Functional Evaluation Criteria

| Functional criteria | Proof required | Maximum points |
| --- | --- | --- |
| REFER TO SCOPE OF WORK SECTION |  |  |

  - The price / preference weighting applicable for RFQ are as follows:

| Price / Preference | Points |
| --- | --- |
| Preference: | 20 |
| Price: | 80 |
| Total must equal: | 100 |

  - Preference Point allocation – 80/20

| 80/20 point scoring system |
| --- |
| Preference: 20 Points | Price: 80 points |
| Other: B-BBEE Status Level Contributor |  |
| B-BBEE Level | Number of Points | Price: | 100 % (of 80) |
| 1 | 20 | Quality / Functionality: | 0 % (of 80) |
| 2 | 18 |  |
| 3 | 14 |  |
| 4 | 12 |  |
| 5 | 8 |  |
| 6 | 6 |  |
| 7 | 4 |  |
| 8 | 2 |  |
| Non-Compliant contributor | 0 |  |
|  | Total must equal: | 100% (of 80) |

  - Price Calculation 80/20

The following formula will be used to calculate the points for price.

Ps=  80 	1- (Pt – Pmin)

Pmin

Where:

Ps		=	Points scored for price of bid under consideration

Pt		=	Rand value of bid under consideration

Pmin 		=	Rand value of lowest acceptable bid

  - Scope of Work

To whom it may concern

You are hereby invited to submit a quotation for the delivery of the following goods / services as listed / stated below:

##### Scope of work for Appointment of a suitable service provider to Fire Detection, Fire Alarm, and Suppression System at Nasrec.

| Item No | Description | Unit | Quantity | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
| SCOPE OF WORK ---- The scope of work entails” Fire Detection Systems and Gas Suppression System • Perform quarterly inspection, fault finding, repairs, testing and servicing in line with the latest SANS 10400 & 10139 regulations and manufactures requirements: Fire alarm systems shall be tested, and service tagged at the main alarm panel. Testing shall include all smoke detectors, manual pull devices, annunciators, visual indicators and strobes, control units, voice/alarm communications systems and other devices that may be part of the fire alarm system. Respond to callouts for faulty equipment Labour for replacement of faulty devices Submit periodic reports for all planned and reactive work carried out. Submit certificates of compliance for all Fire panels during each service. TEN YEAR REVALIDATION OF FM 200 GAS CYLINDERS. SANS REGULATION 14520-PART 9 Inspection, servicing, refurbishing, and revalidation of the FM 200 gas cylinders for the installations as detailed below. As pers SANS 14520 regulations fixed fire protection gas cylinders need to be revalidated once the installation has reached its ten-year cycle for the system to be compliant. Service provider to provide refurbished and revalidated FM 200 cylinders with the required cylinder sizes and gas quantities and retrofit accordingly for each area and retrieve the on-site cylinders. To save unnecessary travel and labour costs |  |  |  |  |
| STP |
| 330001317 | Fiber room:1 x 32litre cylinder filled with 22.5kg FM 200 gas. 1 x new actuator | each | 1 |  |  |
| 330001317 | Satellite termination room: 1x 32 litre cylinder filled with 23,5 kg FM 200 gas. 1 x new actuator | each | 1 |  |  |
| 330001317 | Telkom room: 1 x 52 litre cylinder filled with 46kg FM 200 gas. 1 x new actuator | each | 1 |  |  |
| 330001317 | UPS room: 1 x 106 litre cylinder filled with 72 kg FM 200gas 1 x new actuator | each | 1 |  |  |
| 330001317 | HPA room: 1 x 106 kg cylinder filled with 65kg FM 200 gas. 1 x new actuator | each | 1 |  |  |
| 330001317 | Satellite equipment room:1 x 106 litre cylinder filled with 98,5 kg FM200 gas. 1 x new actuator | each | 1 |  |  |
| 330001317 | Network equipment room:1 x 147 litre cylinder filled with 138 kg FM 200 gas. 1 x new actuator. | each | 1 |  |  |
| 330001316 | Optical smoke detectors and address card | each | 26 |  |  |
|  | TOTAL |  |
| FINAL SUMMERRY |
|  | Total brought forward from page 1 |  |
|  | SUB-TOTAL |  |
|  | VAT@15% |  |
|  | TOTAL |  |

Notes:

## CODES OF PRACTICE FOR INSPECTION AND MAINTENANCE

The inspection and maintenance to be conducted in accordance with the following standards:

• SANS 10139 - Fire detection installations in buildings

SCOPE OF WORK:

- Inspect logbook for any recorded faults and rectify, the client should check his system weekly the operator must display a thorough knowledge of the system and take relevant actions. (SANS3691, 10.3).

- Inspect building to ensure building changes have not affected sitting of the detectors, manual call points or sounders, room dimensions have not been altered.

- Acceptance of functionality / User training (SANS - 11.4.2.b5) The user shall take ownership of the system and ensure all users are trained in its operation

- Gas Cylinders and contents (SANS 14520 - 9.2.1.3) The pressure gauges show the correct pressure and contents recorded. The gas cylinders shall carry at least one international approval.

- The quantity of gas shall be in accordance with the design parameters and be in compliance with the South African gas standard

- Room separation, enclosure check, pressure venting (SANS 246-5.2) This testing is necessary to satisfy the requirements of SANS 14520 with regard to ensuring that the hold time of not less than 10 minutes is achieved

- Cable penetrations sealed (SANS 246 - 5.7) All cable penetrations should be sealed to contain the fire extinguishing gas

- CO2 fire extinguishers (SANS 246 - 8.1) A CO2 fire extinguisher should be mounted within 15 mtrs the computer room entrance.

- Acceptance of functionality / User training (SANS - 11.4.2.b5) The user shall take ownership of the system and ensure all users are trained in its operation.

- Inspect building to ensure building changes have not affected sitting of the detectors, manual call points or sounders, room dimensions have not been altered.

- Every detector to be cleaned and checked for correct operation.

- Check all cables and terminations are secure and undamaged

- All visual and audible alarms associated with the zones being tested to be checked for correct position and operation.

- Control signals to remote stations and equipment tested for satisfactory operation Remote Centre Signaling, It is recommended all fire alarms are monitored 24 hours a day (SANS 247 – 7.2.2.3)

- Power supply units shall be checked for satisfactory operation. The batteries should keep the system operational for 24 hours under power fail conditions.

- Check the battery chargers are delivering a charge to the batteries, The batteries must be dated and replaced every 2 years.

- Gas Cylinders and contents (SANS 14520 - 9.2.1.3) The pressure gauges show the correct pressure and contents recorded. The gas cylinders shall carry at least one international approval.

- The quantity of gas shall be in accordance with the design parameters and be in compliance with the South African gas standard

- Cylinder fixing (SANS 14520 – 6.2.3) Cylinders shall be fixed to a solid structure to ensure no lateral or vertical movement can occur.

- 19. Gas nozzle distribution (SANS 14520 – 6.3.6) the gas shall be evenly distributed throughout the protected area with no obstructions.

## INSPECTING AND SERVICING

- Inspect panel for any alarm condition and rectify.

- Each zone to be tested for fire and fault conditions.

- All break glass manual alarm units shall be checked for satisfactory operation.

- Audible alarm at control panel and in fire zones shall be tested.

- All equipment (other than air conditioning equipment and gas extinguishers equipment)

- Activated or deactivated by the detection and alarm system shall be checked for       operation.

- Signals only from the detection and alarm system to any gas extinguishing system or air conditioning equipment such as fire dampers fans and fan coil units shall be checked and the response of the equipment noted.

- Inspect building to ensure building changes have not affected sitting of the detectors, manual call points or sounders.

- Every detector to be checked for correct operation.

- Check all cables and terminations are secure and undamaged.

## CENTRAL CONTROL PANEL AND POWER SUPPLY EQUIPMENT

- All visual and audible alarms associated with the zones being tested to be checked for correct position.

- All control signals to remote stations and equipment with in the complex shall be tested for satisfactory operation.

- Power supply units shall be checked for satisfactory operation.

- Wipe clean the top of the battery cell

- Check the battery chargers and delivering a charge to the batteries.

| Maintenance work not covered by agreement: Rates Valid: |
| --- |
| From 08h00 to 16h30 weekdays | R Per Hour |
| After hours, weekends and public holidays | R Per Hour |
| Travelling time labour | R Per Hour |
| Rate per KM Travelled | R Per KM |

STATUTORY REQUIREMENTS

All of the above-mentioned work shall comply with the following statutory requirements:

- SANS 10019 Transportable containers for compressed dissolved and liquefied gases – basic design, manufacture, use, and maintenance.

- SANS, ISO 14520-1 2006, Gaseous Fire extinguishing systems; Pressure Equipment Regulations.

- SANS 347 - Standard specification for categorisation and conformity assessment criteria for all pressure equipment

- SANS 10139 –Fire Detection and Alarm Systems for Buildings

- OHSACT and Regulations 85 of 1993 under the section of Vessels under Pressure Regulations

- CODES OF PRACTICE FOR INSPECTION AND MAINTENANCE

The inspection and maintenance to be conducted in accordance with the following standards:

- SANS 246 - Electronic equipment installations

- SANS 10139 - Fire detection installations in buildings

- SANS 14520 - Clean agent gas systems

- SANS 369-1 - Electrical actuation of gas systems

Daily work progress

The contractor will be required to give feedback on the progress of the work carried out for each day. Any problems encountered must be brought to the attention of the Project Manager/Manager: Occupational Health and Safety.

Management strategy and start-up.

The Contractor’s plan for the service:

- The Contractor must supply a detailed plan of when the intended dates for performing the service throughout the service period.

- This is for the yearly and quarterly services of the respective equipment.

- The plan should include the period of time that will be spent on-site by Technicians for a yearly service and for that of a quarterly service.

Notes:

Meetings of a specialist nature may be convened by persons and at times and locations to suit the Parties, the nature, and the progress of the service. Records of these meetings shall be circulated by the person convening the meeting within five days of the meeting. All meetings shall be recorded using minutes or a register prepared and circulated by the person who convened the meeting. Such minutes or registers shall not be used to confirm actions or instructions under the contract as these shall be done separately by the person identified in the conditions of the contract to carry out such actions or instructions.

COMPANY BRANDING

The Contractor shall provide all overalls (when needed) for his staff with clearly identifying motifs depicting the company name. Each service technician shall be required to wear their SAQCC ID at all times.

ENVIRONMENTAL CONSTRAINTS AND MANAGEMENT

All environmental Legislations, are to be adhered to:

- The Contractor will be required to ensure that all works are carried out as per the ISO 14001 standard. The following environmental requirements are complied with at all times:

- Zero liquid effluent discharge.

- No chemicals will be dumped into the Sentech drains or on the premises.

- No oil or waste will be dumped in an unauthorised area or unlicensed waste site.

- Asbestos will be handled and stored according to Asbestos Regulations.

- No materials or waste will be burnt on site.

- Hazardous substances shall be handled and stored according to the hazardous substances Act

- No effluent shall be discharged into the public streams.

Quality control requirements

The Contractor must possess an accredited Quality Management System. A pre-approved Quality Control Plan (QCP) is to be used for the tasks at hand

TESTING, COMMISSIONING, AND ACCEPTANCE.

Testing:

- The Contractor must provide test certificates and reports of any test that was conducted as per ISO 14520.

- Gas cylinders’ code of manufacture, manufacturer, and certificate of manufacture.

- Pressure relief valves test certificate

- Test all detection and actuation components

- Test to verify that all alarms are conveyed to the respective panel or operator (where applicable) at the Fire Panel Computer (where applicable)

- Gas cylinders’ code of manufacture, manufacturer, and certificate of manufacture.

- Pressure relief valves test certificate

- Test all detection and actuation components

Commissioning

- Commissioning should be done by a competent person. The person must have knowledge and understanding of gas suppression system design and fire detection systems. The system will be accepted when there are ZERO defects

- The contractor must supply testing and commissioning procedure

GENERAL REQUIREMENTS

The Contractor to note and comply with the following:

- Direction and Instructions

The Contractor shall operate under the direction and instructions of Sentech or such appointed person/s who may give instruction without transgression of the contract, any legislation and regulations including the Occupational Health and Safety Act and other Safety Regulations.

- Workmanship

The Contractor shall maintain a high standard of workmanship as expected by the Sentech and shall comply with any quality assurance and quality procedures implemented by the Sentech.

RECORDS OF CONTRACTOR’S EQUIPMENT

- All equipment, tools, transport, and consumables for performing the services are to be supplied by the Contractor. All the Contractor’s power tools and equipment must be on a planned maintenance schedule and must be inspected before being dispatched to Sentech.

- The Contractor shall maintain a calibration and inspection schedule for all measuring equipment used and shall make the Schedule and results available to the Sentech upon request.

- Access to the site with equipment and tools will only be granted upon the submission of a printed tool/equipment list to the security department. Any items not on the list and brought onto site, may not be removed from site thereafter.

- Contractor to provide general tools to execute maintenance tasks.

Other Requirements:

Please submit your BBBEE Certificate and SBD forms.